## Fluoro
1					Revision 1.0-20140806					Print Area
2					Medical University of South Carolina					Medical University of South Carolina					Page1,HVLPage,ExpChart,ImgQuality,Compg1,GraphAcryl,LeedsTO10
3					Charleston, South Carolina					Charleston, South Carolina
4					All:	Page1,HVLPage,ExpChart,ImgQuality,Compg1,GraphAcryl,LeedsTO10
5					Fluoroscopy System Compliance Inspection					Fluoroscopy System Compliance Inspection
6					Measurement Parameter	Last Year		This Year
7					Date:					Inspector:				Print Area		Change	Page1,HVLPage,ExpChart,ImgQuality,Compg1,GraphAcryl,LeedsTO10
8					System Information					Previous Date:					System Information					Date
9			Location					Location			Input Changes Only				Input Changes Only				Inspector
10				Facility:					Site Number:					Facility:				Site Number:					Facility:
11				Department:					Authorized Use:					Department:				Authorized Use:					Department:
12				Area/Division:					Date of Installation:					Area/Division:				Date of Installation:					Area/Division:
13				Survey ID:					Number of X-ray Tubes:					Survey ID:				Number of X-ray Tubes:					Survey ID:
14					Room Number:				Accesssion Number:					Room Number:
15			X-Ray Generator					Site Number:
16				Manufacturer:					Manufacture Date:					X-Ray Generator					Authorized Use:
17				Model:					Serial Number:					Manufacturer:				Manufacture Date:					Date of Installation:
18				Max kVp:					Max mA:					Model:				Serial Number:					Number of X-ray Tubes:
19					Max kVp:				Max mA:					Accesssion Number:
20			X-Ray Tube 1					Focal Spot Sizes (mm)					X-Ray Generator
21				Tube Designation/Use:					Large:					X-Ray Tube 1					Focal Spot Sizes (mm)					Manufacturer:
22				Manufacture Date:					Small:					Tube Designation/Use:				Large:					Model:
23			Insert					Micro:					Manufacture Date:				Small:					Max kVp:
24				Manufacturer:					Insert					Micro:					Manufacture Date:
25				Model:					Filtration					Manufacturer:					Serial Number:
26				Serial Number:					Inherent:					Model:				Filtration					Max mA:
27			Housing					Added:					Serial Number:				Inherent:					X-Ray Tube 1
28				Manufacturer:					Housing					Added:					Tube Designation/Use:
29				Model:					Manufacturer:					Manufacture Date:
30				Serial Number:					Model:					Manufacturer:
31					Serial Number:					Model:
32			X-Ray Tube 2					Focal Spot Sizes (mm)					Serial Number:
33				Tube Designation/Use:					Large:					X-Ray Tube 2					Focal Spot Sizes (mm)					Manufacturer:
34				Manufacture Date:					Small:					Tube Designation/Use:				Large:					Model:
35			Insert					Micro:					Manufacture Date:				Small:					Serial Number:
36				Manufacturer:					Insert					Micro:					Large:
37				Model:					Filtration					Manufacturer:					Small:
38				Serial Number:					Inherent:					Model:				Filtration					Micro:
39					Added:					Serial Number:				Inherent:					Inherent:
40				Manufacturer:					Added:					Added:
41				Model:					Manufacturer:					X-Ray Tube 2
42				Serial Number:					Model:					Tube Designation/Use:
43					Serial Number:					Manufacture Date:
44					Manufacturer:
45					Model:
46					Inspection Results					Serial Number:
47					Enter 1 for YES, 2 for NO, 3 for NA					Manufacturer:
48					Labels, Notices, Postings		Tube Number:					Model:
49					DHEC Registration sticker is present, clearly visible and legible					**Inpurt onlyone of the following				Serial Number:
50					DHEC form SC-RAH-20 “Notice to Employees” posted or referenced					numbers or names				Large:
51					Radiation warning label posted on the generator control panel					1	1			Small:
52					Tube loading charts for each focal spot are posted					2	2			Micro:
53					Tube loading charts are correct for installed tube(s).					3	3			Inherent:
54					Operator manuals are available.					AP	AP			Added:
55					Monthly radiation monitoring reports are posted.					Front	Front			Tube Number:
56					Fluoroscopy Systems			Frontal	Frontal			Tube Designation:		Change	1
57					Interlock systems function to prevent fluoro while II is parked					Lat	Lat					Change	2
58					The minimum Source Skin Distance > 38 cm (20 cm for surgical applications)					Lateral	Lateral					Change	3
59					Minimum of 25 mm lead equivalent shielding (i.e. drapes or sliding panels)					Change	AP
60					The useful beam is intercepted by the image assembly at any SID					Change	Front
61					Fluoroscopy patient dose charts are posted					Change	Frontal
62					1	Max Entrance Exposure rate <= 88 mGy/min (auto) and <= 44 mGy/min (manual)					Change	Lat
63					3	Max Entrance Exposure Rate <= 176 mGy/min (high level)					Change	Lateral
64					High contrast resolution within MUSC specifications
65		Date:					Inspector:			1	Low contrast resolution within MUSC specifications
66		Room Number					Survey ID:				Transmission through II < 2 uGy/hr for each mGy/min at patient entrance					Receptor Size
1					Medical University of South Carolina			beam limiting device available (functioning) to restrict the x-ray field					Normal:
2					Inspection Results					Fluoroscopy System Compliance Inspection			The useful beam is centered on the image receptor					Mag 1:
3		Rule Number			Labels, Notices, Postings					Compliance				Collimator edges are visible at full open					Mag 2:
4		DHEC RHB 2.5.1.1		DHEC Registration sticker is present, clearly visible and legible					TBD				Elapsed timer (5 min maximum) functional					Mag 3:
5		DHEC RHB 10.2.1		DHEC form SC-RAH-20 “Notice to Employees” posted or referenced					TBD				Fluoroscopic kV and mA meter present and functional					Mag 4:
6		DHEC RHB 4.3.1		Radiation warning label posted on the generator control panel					TBD					Radiation Safety					Pt Dose Measured Fluoro
7				Tube loading charts for each focal spot are posted					TBD				Continuous pressure on exposure switch required to make an exposure with selected tube					Manual/Auto:
8				Tube loading charts are correct for installed tube(s).					TBD				Operator has full visibility of the exposure factors and patient					Lucite/Al:		Change	1.00
9				Operator manuals are available.					TBD				Lead aprons available					# dose rates:
10				Monthly radiation monitoring reports are posted.					TBD				Lead gloves available					High level present:
11					Properly designed and installed apron rack is present					cm/in:		Change	cm
12					Radiation Safety					Documentation of annual protective apparel integrity inspection is available					Auto/mA:		Change	Auto
13				Continuous pressure on exposure switch required to make an exposure with selected tube					TBD				Patient restraint devices available					Technique 1:
14				Operator has full visibility of the exposure factors and patient					TBD				Gonadal shielding is present and functional					Technique 2:
15				Lead aprons available					TBD				Radiation warning light at room entrance is functional with selected tube					Technique 3:
16				Lead gloves available					TBD					Physical Inspection					Maximum Dose Rates
17				Properly designed and installed apron rack is present					TBD				System clean and free of debris					kV:
18				Documentation of annual protective apparel integrity inspection is available					TBD				All cables free from excessive wear or restraints					mA:
19				Patient restraint devices available					TBD				System free of missing or damaged components					mGy/min:
20				Gonadal shielding is present and functional					TBD				Tube support movements and locks are acceptable					kV:
21				Radiation warning light at room entrance is functional with selected tube					TBD				All other movements and locks functional					mA:
22					Automatic Brightness Control / Display Monitor					mGy/min:
23					Fluoroscopy Systems					Automatic Brightness Control maintains image brightness for varying attenuation					kV:
24		DHEC RHB 4.9.2.1.2		Interlock systems function to prevent fluoro while II is parked					TBD				Display monitor is free of artifacts, shadows, bright spots, and burn-in					mA:
25		DHEC RHB 4.9.1		The minimum Source Skin Distance > 38 cm (20 cm for surgical applications)					TBD				Display monitor is free of distortion					mGy/min:
26		DHEC RHB 4.9.8		Minimum of 25 mm lead equivalent shielding (i.e. drapes or sliding panels)					TBD				Display monitor is free of excessive persistance (after-image)					HVL
27		DHEC RHB 4.9.2.1.2		The useful beam is intercepted by the image assembly at any SID					TBD				Display monitor is free of static or rolling nosie bands					HVL Measured kV:		Change	80.00
28		DHEC RHB 4.9.4.3.6		Fluoroscopy patient dose charts are posted					TBD				The last image hold (LIH) display is free of jitter or abnormal appearance					HVL Measured:		Change	TBD
29		DHEC RHB 4.9.4.2.1		Max Entrance Exposure rate <= 88 mGy/min (auto) and <= 44 mGy/min (manual)					YES					Pt Dose Measured Dig Acq
30		DHEC RHB 4.9.4.2.1.2		Max Entrance Exposure Rate <= 176 mGy/min (high level)					NA					Technique 1:
31				High contrast resolution within MUSC specifications					TBD					Inspection Results					Technique 2:
32				Low contrast resolution within MUSC specifications					YES					Technique 3:
33		DHEC RHB 4.9.5.1		Transmission through II < 2 uGy/hr for each mGy/min at patient entrance					TBD			Entrance Exposure Rate				Type 1 for manual, leave blank for auto			Auto	Auto	Auto/mA mode			Receptor Entr Exp Fluoro
34		DHEC RHB 4.9.2.2.1		beam limiting device available (functioning) to restrict the x-ray field					TBD					1	1	Type 1 if using Lucite, leave blank if using Al					Auto 1 Normal
35				The useful beam is centered on the image receptor					TBD					How many dose rate settings are present (exclusing High Level)?					Auto 1 Mag 1
36		DHEC RHB 4.9.2.2.1		Collimator edges are visible at full open					TBD					Is High Level provided? (1=Yes, 2=No)					Auto 1 Mag 2
37		DHEC RHB 4.9.7		Elapsed timer (5 min maximum) functional					TBD			Blank					Auto 1 Mag 3
38		DHEC RHB 4.9.6		Fluoroscopic kV and mA meter present and functional					TBD			cm	cm	Unit for image receptor size					Auto 1 Mag 4
39		DHEC RHB 4.3.5		The Measured HVL meeds DHEC minimum requirements					Patient Entrance Exposure Rate (Fluoroscopy)*					Normal
40					Image	Acrylic					Mag 1
41					Automatic Brightness Control / Display Monitor					Mode	Attenuator	Auto 1					Auto				Mag 2
42				Automatic Brightness Control maintains image brightness for varying attenuation					TBD			(cm)	(cm)	kVp	mA	mGy/min	kVp	mA	mGy/min	kVp	mA	mGy/min		Mag 3
43				Display monitor is free of artifacts, shadows, bright spots, and burn-in					TBD			Normal	10.00					Mag 4
44				Display monitor is free of distortion					TBD				20.00					Auto Normal
45				Display monitor is free of excessive persistance (after-image)					TBD				30.00					Auto Mag 1
46				Display monitor is free of static or rolling nosie bands					TBD			Mag 1	10.00					Auto Mag 2
47				The last image hold (LIH) display is free of jitter or abnormal appearance					TBD				20.00					Auto Mag 3
48					30.00					Auto Mag 4
49					Physical Inspection					Mag 2	10.00					Receptor Entr Exp Dig Acq
50				System clean and free of debris					TBD				20.00					Auto 1 Normal
51				All cables free from excessive wear or restraints					TBD				30.00					Auto 1 Mag 1
52				System free of missing or damaged components					TBD			Mag 3	10.00					Auto 1 Mag 2
53				Tube support movements and locks are acceptable					TBD				20.00					Auto 1 Mag 3
54				All other movements and locks functional					TBD				30.00					Auto 1 Mag 4
55					Mag 4	10.00					Normal
56					20.00					Mag 1
57					30.00					Mag 2
58					max					Mag 3
59					Last Year:					Mag 4
60					*Measured at:		Acceptable:	NA		Acceptable:	NA		Acceptable:	NA		Auto Normal
61					Undertable fluoroscopy units: 1 cm above table top					Auto Mag 1
62					Overhead tube fluoroscopy units: 30 cm above table top (Tube as close as possible to measuring point)					Auto Mag 2
63					C-arm fluoroscopy units: 30 cm from image receptor input (Tube at any ID, but spacer no closer than measuring point					Auto Mag 3
64					Lateral fluoroscopy units: 15 cm from center line of table and towards the tube (Position table and tube so spacer is as close as possible to measuring point)					Auto Mag 4
65		Date:					Inspector:				Criteria:	Max Entrance Exposure Rate <= 88 mGy/min (auto) and <= 44 mGy/min (manual)					Fluoro Scatter/Transmission
66		Room Number					Survey ID:					Max Entrance Exposure Rate < = 176 mGy/min (high level)					Transmission:
1					Medical University of South Carolina			Comments:					Scatter (eyes):
2					Inspection Results					Fluoroscopy System Compliance Inspection			Do not exceed 390 chars					Scatter (waist):
3					Half Value Layer Measurement					New:					Dig Acq Scatter
4					Scatter (eyes):
5				Set kVp:	80.00					Patient Entrance Exposure Rate (Digital Acquisition)*					Scatter (waist):
6					Image	Acrylic					Leeds Phantom
7				Al (mm)	mGy/min	mGy/min		Measured HVL:	TBD					Mode	Attenuator	Auto 1					Auto				kVp:		Change	70.00
8				0.00				HVL Acceptable:	TBD					(cm)	(cm)	kVp	mA	mGy/min	kVp	mA	mGy/min	kVp	mA	mGy/min		Huttner Normal:
9					Normal	10.00					Huttner Mag 1:
10					ACCEPATBLE RESULTS (mm Al)					20.00					Huttner Mag 2:
11					Min acceptable HVL at 80 kVp:	2.60					30.00					Huttner Mag 3:
12					Desired HVL at 80 kVp:	3.10				Mag 1	10.00					Huttner Mag 4:
13					Criteria:	MUSC Standard					20.00					N3 Normal:
14					30.00					N3 Mag 1:
15					Mag 2	10.00					N3 Mag 2
16					20.00					N3 Mag 3
17					30.00					N3 Mag 4:
18					Mag 3	10.00					Field Size:
19					20.00					SID:
20					30.00					Front:
21					Mag 4	10.00					Back:
22					20.00					Left:
23					30.00					Right:
24					TO.10.A
25					*Measured at:					TO.10.B
26					Undertable fluoroscopy units: 1 cm above table top					TO.10.C
27					Overhead tube fluoroscopy units: 30 cm above table top (Tube as close as possible to measuring point)					TO.10.D
28					C-arm fluoroscopy units: 30 cm from image receptor input (Tube at any ID, but spacer no closer than measuring point					TO.10.E
29					Lateral fluoroscopy units: 15 cm from center line of table and towards the tube (Position table and tube so spacer is as close as possible to measuring point)					TO.10.F
30					Criteria:	Max Entrance Exposure Rate <= 88 mGy/min (auto) and <= 44 mGy/min (manual)					TO.10.G
31					Max Entrance Exposure Rate < = 176 mGy/min (high level)					TO.10.H
32					Comments:					TO.10.J
33					Do not exceed 390 chars					TO.10.K
34					New:					TO.10.L
35					TO.10.M
36					Half Value Layer					TO.10.A
37					2	Use DHEC standards? (Type 1 to base acceptance on DHEC criteria)					TO.10.B
38					TO.10.C
39					kV	mA	mm Al	mGy/min		Data Processing					TO.10.D
40					80.00		0.00			mm Al	Avg Exp	DATA(1/2)	Data Al	HVL			TO.10.E
41					0.00			0.00				TBD			TO.10.F
42					TO.10.G
43					TO.10.H
44					Data Exp	LN(EXP)			TO.10.J
45					TO.10.K
46					TO.10.L
47					TBD	TBD					TO.10.M
48					Acceptable (mm Al)			HVL Acceptable:	TBD			TO.10.A
49					Low	2.60					TO.10.B
50					Desired	3.10		Previous HVL @ kV:				TO.10.C
51					High	3.50					TO.10.D
52					TO.10.E
53					Image Receptor Entrance Exposure Rate - Fluoroscopy					TO.10.F
54					TO.10.G
55					Dose	Receptor					Previous Year					TO.10.H
56					Level	Size (cm)	kVp	mA	uGy/min	nGy/frame	nGy/frame					TO.10.J
57					Auto 1					Measure using pancake probe placed against				TO.10.K
58					image receptor input window				TO.10.L
59					Use 1.5mm Cu filtration				TO.10.M
60					TO.10.A
61					TO.10.B
62					TO.10.C
63					TO.10.D
64					TO.10.E
65		Date:					Inspector:					TO.10.F
66		Room Number					Survey ID:					TO.10.G
1					Medical University of South Carolina		Auto					TO.10.H
2					Inspection Results					Fluoroscopy System Compliance Inspection					TO.10.J
3		Patient Entrance Exposure Rate – Fluoroscopy					TO.10.K
4		Image	Acrylic					TO.10.L
5		Mode	Attenuator	Auto 1					Auto					TO.10.M
6		(cm)	(cm)	kVp	mA	mGy/min	kVp	mA	mGy/min	kVp	mA	mGy/min					TO.10.A
7		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			Comments:					TO.10.B
8			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA					TO.10.C
9			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			New:					TO.10.D
10		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA					TO.10.E
11			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA		Image Receptor Entrance Exposure Rate – Digital Acquisition					TO.10.F
12			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA					TO.10.G
13		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA		Dose	Receptor					Previous Year					TO.10.H
14			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA		Level	Size (cm)	kVp	mA	uGy/min	nGy/frame	nGy/frame					TO.10.J
15			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA		Auto 1					Measure using pancake probe placed against				TO.10.K
16		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA					image receptor input window				TO.10.L
17			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA					Use 1.5mm Cu filtration				TO.10.M
18			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA					Comments
19		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA					Pt Entr Exp Fluoro:
20			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA					Pt Entr Exp Dig Acq:
21			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA					Receptor Entr Exp Fluoro:
22			max	NA	NA	NA	NA	NA	NA	NA	NA	NA					Receptor Entr Exp Dig Acq:
23					Scatter/Transmission:
24			*Measured at:		Acceptable:	NA		Acceptable:	NA		Acceptable:	NA					Leeds Phantom:
25			Undertable fluoroscopy units: 1 cm above table top					Auto					TO.10:
26			Overhead tube fluoroscopy units: 30 cm above table top (Tube as close as possible to measuring point)					Beam Limitation:
27			C-arm fluoroscopy units: 30 cm from image receptor input (Tube at any ID, but spacer no closer than measuring point					Comment Page 1
28			Lateral fluoroscopy units: 15 cm from center line of table and towards the tube (Position table and tube so spacer is as close as possible to measuring point)
29			Criteria:	Max Entrance Exposure Rate <= 88 mGy/min (auto) and <= 44 mGy/min (manual)
30				Max Entrance Exposure Rate < = 176 mGy/min (high level)
31			Comments:					Comments:
32					Do not exceed 390 chars
33					New:
34
35		Image Receptor Entrance Exposure Rate – Fluoroscopy					Scatter and Transmission
36					Patient
37		Dose	Receptor					Entrance
38		Level	Size (cm)	kVp	mA	uGy/min	nGy/frame					kVp	mA	mGy/min	uGy/hr	Last Year		Acceptable
39		Auto 1					Measure using pancake probe placed against					Transmission* @ 10cm					TBD
40					image receptor input window					Scatter – Fluoro	Eye level
41					Use 1.5mm Cu filtration					Waist level
42					Scatter – Digital acq	Eye level
43					Waist level
44		0.00					*Measured with 8” Lucite in beam
45					Largest field size mode, highest dose rate mode
46					Criteria:	Transmission through the image receptor is < 2 uGy/hr at 10 cm for each mGy/min of patient entrance exposure
47
48					Comments:
49		0.00					Do not exceed 390 chars
50					New:
51
52					Leeds Phantom
53
54			Comments:					Receptor Size	MS1	MS3	MS4	Huttner	N3	kVp:	70	70
55					MS1-4		Huttner: Enter col.row
56					1	Clearly visible	N3: Enter # of visible disks
57		Scatter and Transmission – Fluoroscopy				Pt Entrance					2	Visible
58				kVp	mA	mGy/min	uGy/hr		Acceptable					3	Barely visible
59			Transmission* @ 10cm	0.00	0.00	0.00	0.00		TBD					4	Not visible
60		Scatter – Fluoro	Eye level	0.00	0.00		0.00					Acceptable:
61			Waist level	0.00	0.00		0.00					Comments:
62			Comments:					Do not exceed 390 chars
63					New:
64					Comment Page 2
65		Date:					Inspector:			TO.10		Details Detected
66		Room Number					Survey ID:				Row
1					Medical University of South Carolina			A
2					Inspection Results					Fluoroscopy System Compliance Inspection			B
3		Patient Entrance Exposure Rate – Digital Acquisition					C
4		Image	Acrylic					D
5		Mode	Attenuator	Auto 1					Auto					E
6		(cm)	(cm)	kVp	mA	mGy/min	kVp	mA	mGy/min	kVp	mA	mGy/min			F
7		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			G
8			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			H
9			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			J
10		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			K
11			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			L
12			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			M
13		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA
14			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			Comments:
15			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			Do not exceed 390 chars
16		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			New:
17			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA
18			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA		Field Size
19		cm	10.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			Horizontal					Type 1 for circular field, 2 for square field
20			20.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			Vertical
21			30.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			Diagonal
22			0.00	NA	NA	NA	NA	NA	NA	NA	NA	NA			Acceptable	NA	NA	NA	NA	NA
23					Criteria:	Measured field size is at least 85% of nominal field size
24			Comments:					Useful Beam Limitation
25					SID (cm)
26
27					Measured	Difference	Sum	Last Year			T	B	L	R
28					Top					Visible
29					Bottom					X-ray
30					Left					SID
31					Right					SOD
32		Image Receptor Entrance Exposure Rate – Digital Acquisition					Criteria:	Difference between x-ray field and visible image area is less than 2% SID					SID/SOD
33					Sum of length and width differences is less than 3% SID
34		Dose	Receptor					Comments:
35		Level	Size (cm)	kVp	mA	uGy/min	nGy/frame					Do not exceed 390 chars
36		Auto 1					Measure using pancake probe placed against					New:
37					image receptor input window
38					Use 1.5mm Cu filtration
39					Comments Page 1
40					Previous Year Comments
41					Comments:
42					Do not exceed 390 chars					**Patient exposure/dose measurements from the previous report were not posted at the time of inspection. The exposure measurements provided with this report should be posted near the operator's console.
43					Additional Comments:
44					Do not exceed 390 chars					**Monthly radiation monitoring reports were not available at the time of inspection. These should be posted in accordance with the requirements of the radiation safety office.
45					Additional Comments:
46		Auto					Do not exceed 390 chars					A copy of the fluoroscopic skin entrance doses (attached) must be posted on the unit in a location visible to the operator (DHEC RHB 4.9.4.5.6).
47					Additional Comments:
48					Do not exceed 390 chars					All lead aprons must be inspected and documented on an annual basis (DHEC RHB 4.2.14.7). Please provide a copy of documentation of inspection or arrange to have lead aprons inspected.
49					Additional Comments:
50					Do not exceed 390 chars					**The DHEC registration tag was not present on the system or was damaged and should be replaced. Arrangements must be made with the Radiation Safety Office to obtain the required registration tag.
51			Comments:					Additional Comments:
52					Do not exceed 390 chars
53					Additional Comments:
54					Do not exceed 390 chars
55		Scatter and Transmission – Digital Acquisition					Additional Comments:
56					Do not exceed 390 chars
57				kVp	mA	uGy/hr					Additional Comments:
58		Scatter – Digital acq	Eye level	0.00	0.00	0.00					Do not exceed 390 chars
59			Waist level	0.00	0.00	0.00					Additional Comments:
60					Do not exceed 390 chars
61					Additional Comments:
62			Comments:					Do not exceed 390 chars
63					Additional Comments:
64					Do not exceed 390 chars
65		Date:					Inspector:				Additional Comments:
66		Room Number					Survey ID:				Do not exceed 390 chars
1					Medical University of South Carolina			Additional Comments:
2					Inspection Results					Fluoroscopy System Compliance Inspection			Do not exceed 390 chars
3		Leeds Test Objects					High contrast resolution		Low contrast resolution					Additional Comments:
4			Receptor Size	MS1	MS3	MS4	lp/mm	Acceptable	N3	Acceptable					Do not exceed 390 chars
5					Additional Comments:
6					Do not exceed 390 chars
7					Additional Comments:
8					Do not exceed 390 chars
9					Additional Comments:
10			Criteria:	Resolution: >1.0 lp/mm Normal mode, >1.25 lp/mm Mag 1, >1.4 lp/mm Mag 2, > 2 lp/mm Mag 3, > 2.5 lp/mm Mag 4					Do not exceed 390 chars
11				N3: Minimum contrast level < 0.04 in all II modes					Additional Comments:
12			Comments:					Do not exceed 390 chars
13
14
15					Comments Page 2
16		TO.10 Contrast Resolution					Previous Year Comments
17			Contrast Detail					Threshold Index					Comments:
18		Row					Do not exceed 390 chars
19		A					Additional Comments:
20		B					Do not exceed 390 chars
21		C					Additional Comments:
22		D					Do not exceed 390 chars
23		E					Additional Comments:
24		F					Do not exceed 390 chars
25		G					Additional Comments:
26		H					Do not exceed 390 chars
27		J					Additional Comments:
28		K					Do not exceed 390 chars
29		L					Additional Comments:
30		M					Do not exceed 390 chars
31			Comments:					Additional Comments:
32					Do not exceed 390 chars
33					Additional Comments:
34					Do not exceed 390 chars
35		Field Size					Additional Comments:
36					Do not exceed 390 chars
37			Horizontal	0.00	0.00	0.00	0.00	0.00					Additional Comments:
38			Vertical	0.00	0.00	0.00	0.00	0.00					Do not exceed 390 chars
39			Diagonal					Additional Comments:
40			Acceptable	NA	NA	NA	NA	NA					Do not exceed 390 chars
41			Criteria:	Measured field size is at least 85% of nominal field size					Additional Comments:
42					Do not exceed 390 chars
43		Useful Beam Limitation					Additional Comments:
44			SID (cm)					Do not exceed 390 chars
45				Measured	Difference	Sum					Additional Comments:
46			Top					Do not exceed 390 chars
47			Bottom					Additional Comments:
48			Left					Do not exceed 390 chars
49			Right					Additional Comments:
50			Criteria:	Difference between x-ray field and visible image area is less than 2% SID					Do not exceed 390 chars
51				Sum of length and width differences is less than 3% SID					Additional Comments:
52			Comments:					Do not exceed 390 chars
53					Additional Comments:
54					Do not exceed 390 chars
55
56
57
58
59
60
61
62
63
64
65		Date:					Inspector:
66		Room Number					Survey ID:
1					Medical University of South Carolina
2					Comments Page 1					Fluoroscopy System Compliance Inspection
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65		Date:					Inspector:
66		Room Number					Survey ID:
1					Medical University of South Carolina
2					Comments Page 2					Fluoroscopy System Compliance Inspection
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65		Date:					Inspector:
66		Room Number					Survey ID:
1					Medical University of South Carolina
2					Radiation Output – Fluoroscopy					Fluoroscopy System Compliance Inspection
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65		Date:					Inspector:
66		Room Number					Survey ID:
1					Medical University of South Carolina
2					Radiation Output – Digital Acquisition					Fluoroscopy System Compliance Inspection
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65		Date:					Inspector:
66		Room Number					Survey ID:
1					Medical University of South Carolina
2					Fluoroscopy System Compliance Inspection
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65		Date:					Inspector:
66		Room Number					Survey ID:
Half Value Layer
mm Al
Exposure Rate (mGy/min)
Fluoro Tube Output
kV
mGy/mA-min
Fluoro Patient Entrance Exposure
Attenuator thickness (cm)
mGy/min
Digital Acquisition Tube Output
kV
mGy/mA-min
Fluoro Patient Entrance Exposure
Attenuator thickness (cm)
mGy/min

## Tables
Leeds MS					Patient Entrance Exposure Rate (Fluoroscopy)*			Sorted by kV					Patient Entrance Exposure Rate (Digital Acquisition)*			Sorted by kV
1	Clearly visible					kV	Fluoro	High Level	kV	Fluoro	High Level			kV	Fluoro	High Level	kV	Fluoro	High Level
2	Visible					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
3	Barely visible					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
4	Not visible					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
				#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
Huttner Grating			Leeds N3		65.00	70.00	75.00	80.00	Nominal					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
1.1	0.50		1	0.1670	0.1880	0.1670	0.1490	0.1350	0.1600					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
1.2	0.56		2	0.1480	0.1670	0.1480	0.1320	0.1200	0.1450					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
1.3	0.63		3	0.1280	0.1450	0.1280	0.1140	0.1040	0.1230					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
2.1	0.71		4	0.1090	0.1240	0.1090	0.0970	0.0880	0.1080					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
2.2	0.80		5	0.0876	0.0993	0.0876	0.0780	0.0705	0.0860					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
2.3	0.90		6	0.0749	0.0847	0.0749	0.0670	0.0609	0.0760					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	#N/A	#N/A
3.1	1.00		7	0.0674	0.0766	0.0674	0.0599	0.0542	0.0660					#N/A	#N/A	#N/A	#N/A	#N/A				#N/A	#N/A	#N/A	56.00	0.44
3.2	1.12		8	0.0525	0.0593	0.0525	0.0470	0.0427	0.0550					#N/A	#N/A	#N/A	56.00	0.44				#N/A	#N/A	#N/A	56.00	0.44
3.3	1.25		9	0.0450	0.0512	0.0450	0.0399	0.0360	0.0450					#N/A	#N/A	#N/A	56.00	0.44				#N/A	#N/A	#N/A	56.00	0.43
4.1	1.40		10	0.0371	0.0400	0.0371	0.0347	0.0329	0.0390					#N/A	#N/A	#N/A	56.00	0.43				#N/A	#N/A	#N/A	67.00	0.57
4.2	1.60		11	0.0322	0.0347	0.0322	0.0301	0.0285	0.0330				Max	#N/A	#N/A	#N/A	67.00	0.57			Max	#N/A	#N/A	#N/A	67.00	0.57
4.3	1.80		12	0.0246	0.0269	0.0246	0.0233	0.0220	0.0270					#N/A	#N/A	#N/A	67.00	0.57				#N/A	#N/A	#N/A	67.00	0.57
5.1	2.00		13	0.0215	0.0232	0.0215	0.0201	0.0190	0.0230					#N/A	#N/A	#N/A	67.00	0.57				#N/A	#N/A	#N/A	67.00	0.57
5.2	2.24		14	0.0172	0.0186	0.0172	0.0161	0.0153	0.0180					#N/A	#N/A	#N/A	67.00	0.57				#N/A	#N/A	#N/A	67.00	0.57
5.3	2.50		15	0.0155	0.0168	0.0155	0.0145	0.0138	0.0160					#N/A	#N/A	#N/A	67.00	0.57				#N/A	#N/A	#N/A	67.00	0.57
6.1	2.80		16	0.0130	0.0140	0.0130	0.0122	0.0115	0.0130					#N/A	#N/A	#N/A	67.00	0.57				#N/A	#N/A	#N/A	77.00	0.76
6.2	3.15		17	0.0110	0.0119	0.0110	0.0103	0.0097	0.0110					#N/A	#N/A	#N/A	77.00	0.76				#N/A	#N/A	#N/A	77.00	0.76
6.3	3.55		18	0.0086	0.0093	0.0086	0.0081	0.0077	0.0090					#N/A	#N/A	#N/A	77.00	0.76				#N/A	#N/A	#N/A	77.00	0.76
7.1	4.00		19	0.0066	0.0071	0.0066	0.0062	0.0059	0.0070					#N/A	#N/A	#N/A	77.00	0.76				#N/A	#N/A	#N/A	77.00	0.76
7.2	4.50					#N/A	#N/A	#N/A	77.00	0.76				#N/A	#N/A	#N/A	77.00	0.76
7.3	5.00					#N/A	#N/A	#N/A	77.00	0.76				#N/A	#N/A	#N/A	77.00	0.76
				#N/A	#N/A	#N/A	77.00	0.76				#N/A	#N/A	#N/A	77.00	0.76
TO.10 kV Adj	65.00	70.00	75.00	80.00					#N/A	#N/A	#N/A	77.00	0.76				#N/A	#N/A	#N/A	77.00	0.76
0.0120	0.0119	0.0110	0.0103	0.0097					.					#N/A	#N/A	#N/A	77.00	0.76				#N/A	#N/A	#N/A	77.00	0.76
0.0160	0.0168	0.0155	0.0145	0.0138					#N/A	#N/A	#N/A	77.00	0.76				#N/A	#N/A	#N/A	88.00	0.96
0.0230	0.0232	0.0215	0.0201	0.0190					#N/A	#N/A	#N/A	88.00	0.96				#N/A	#N/A	#N/A	88.00	0.96
0.0320	0.0347	0.0322	0.0301	0.0285					Max	#N/A	#N/A	#N/A	88.00	0.96			Max	#N/A	#N/A	#N/A	88.00	0.96
0.0450	0.0512	0.0450	0.0399	0.0360					#N/A	#N/A	#N/A	88.00	0.96				#N/A	#N/A	#N/A	88.00	0.96
0.0660	0.0766	0.0674	0.0599	0.0542					#N/A	#N/A	#N/A	88.00	0.96				#N/A	#N/A	#N/A	88.00	0.96
0.0860	0.0993	0.0876	0.0780	0.0705					#N/A	#N/A	#N/A	88.00	0.96				#N/A	#N/A	#N/A	88.00	0.96
0.1230	0.1450	0.1280	0.1140	0.1040					#N/A	#N/A	#N/A	88.00	0.96				#N/A	#N/A	#N/A	88.00	0.96
0.1600	0.1880	0.1670	0.1490	0.1350					#N/A	#N/A	#N/A	88.00	0.96				#N/A	#N/A	#N/A	88.00	0.96
0.2300	0.2670	0.2380	0.2140	0.1940					#N/A	#N/A	#N/A	88.00	0.96				#N/A	#N/A	#N/A	88.00	0.96
0.3500	0.3990	0.3600	0.3270	0.2990					#N/A	#N/A	#N/A	88.00	0.96				#N/A	#N/A	#N/A	100.00	1.24
0.5000	0.6180	0.5730	0.5330	0.4970					#N/A	#N/A	#N/A	100.00	1.24				#N/A	#N/A	#N/A	100.00	1.24
0.6600	0.7690	0.7260	0.6860	0.6490					#N/A	#N/A	#N/A	100.00	1.24				#N/A	#N/A	#N/A	100.00	1.24
0.9300	0.9690	0.9540	0.9360	0.9150					#N/A	#N/A	#N/A	100.00	1.24				#N/A	#N/A	#N/A	100.00	1.24
				#N/A	#N/A	#N/A	100.00	1.24				#N/A	#N/A	#N/A	100.00	1.24
TO.10	Diameter (mm)	sqrt(Area)	1	2	3	4	5	6	7	8	9			#N/A	#N/A	#N/A	100.00	1.24				#N/A	#N/A	#N/A	100.00	1.24
A	11.10	9.837	0.160	0.123	0.086	0.066	0.045	0.032	0.023	0.016	0.012			#N/A	#N/A	#N/A	100.00	1.24				#N/A	#N/A	#N/A	109.00	1.50
B	7.90	7.001	0.160	0.123	0.086	0.066	0.045	0.032	0.023	0.016	0.012			#N/A	#N/A	#N/A	109.00	1.50				#N/A	#N/A	#N/A	110.00	1.53
C	5.60	4.963	0.160	0.123	0.086	0.066	0.045	0.032	0.023	0.016	0.012			#N/A	#N/A	#N/A	110.00	1.53				#N/A	#N/A	#N/A	120.00	1.85
D	4.00	3.545	0.230	0.160	0.123	0.086	0.066	0.045	0.032	0.023	0.016		Max	#N/A	#N/A	#N/A	120.00	1.85			Max	#N/A	#N/A	#N/A
E	2.80	2.481	0.230	0.160	0.123	0.086	0.066	0.045	0.032	0.023	0.016
F	2.00	1.772	0.230	0.160	0.123	0.086	0.066	0.045	0.032	0.023	0.016
G	1.40	1.241	0.500	0.350	0.230	0.160	0.123	0.086	0.066	0.045	0.032
H	1.00	0.886	0.500	0.350	0.230	0.160	0.123	0.086	0.066	0.045	0.032
J	0.70	0.620	0.500	0.350	0.230	0.160	0.123	0.086	0.066	0.045	0.032
K	0.50	0.443	0.930	0.660	0.500	0.350	0.230	0.160	0.123	0.086	0.066
L	0.35	0.310	0.930	0.660	0.500	0.350	0.230	0.160	0.123	0.086	0.066
M	0.25	0.222	0.930	0.660	0.500	0.350	0.230	0.160	0.123	0.086	0.066

TO.10 Values	0	1	1.5	2	2.5	3	3.5	4	4.5	5	5.5	6	6.5	7	7.5	8	8.5	9
A	#N/A	0.167	0.148	0.128	0.108	0.088	0.078	0.067	0.056	0.045	0.039	0.032	0.027	0.022	0.019	0.016	0.013	0.011
B	#N/A	0.167	0.148	0.128	0.108	0.088	0.078	0.067	0.056	0.045	0.039	0.032	0.027	0.022	0.019	0.016	0.013	0.011
C	#N/A	0.167	0.148	0.128	0.108	0.088	0.078	0.067	0.056	0.045	0.039	0.032	0.027	0.022	0.019	0.016	0.013	0.011
D	#N/A	0.238	0.203	0.167	0.148	0.128	0.108	0.088	0.078	0.067	0.056	0.045	0.039	0.032	0.027	0.022	0.019	0.016
E	#N/A	0.238	0.203	0.167	0.148	0.128	0.108	0.088	0.078	0.067	0.056	0.045	0.039	0.032	0.027	0.022	0.019	0.016
F	#N/A	0.238	0.203	0.167	0.148	0.128	0.108	0.088	0.078	0.067	0.056	0.045	0.039	0.032	0.027	0.022	0.019	0.016
G	#N/A	0.573	0.467	0.360	0.299	0.238	0.203	0.167	0.148	0.128	0.108	0.088	0.078	0.067	0.056	0.045	0.039	0.032
H	#N/A	0.573	0.467	0.360	0.299	0.238	0.203	0.167	0.148	0.128	0.108	0.088	0.078	0.067	0.056	0.045	0.039	0.032
J	#N/A	0.573	0.467	0.360	0.299	0.238	0.203	0.167	0.148	0.128	0.108	0.088	0.078	0.067	0.056	0.045	0.039	0.032
K	#N/A	0.954	0.840	0.726	0.650	0.573	0.467	0.360	0.299	0.238	0.203	0.167	0.148	0.128	0.108	0.088	0.078	0.067
L	#N/A	0.954	0.840	0.726	0.650	0.573	0.467	0.360	0.299	0.238	0.203	0.167	0.148	0.128	0.108	0.088	0.078	0.067
M	#N/A	0.954	0.840	0.726	0.650	0.573	0.467	0.360	0.299	0.238	0.203	0.167	0.148	0.128	0.108	0.088	0.078	0.067

Half Value Layer
	DHEC			MUSC				HVL Graph
	Min HVL			HVL	Min HVL	Max HVL		mm Al	Avg Exp
kVp	(mm Al)		kVp	(mm Al)	(mm Al)	(mm Al)		TBD	TBD
30.00	0.3		60	2.2	1.8	2.4		TBD	TBD
40.00	0.4		70	2.6	2.2	2.9		TBD	TBD
50.00	0.5		80	3.0	2.6	3.5		TBD	TBD
51.00	1.2		90	3.5	3.1	4.0		TBD	TBD
60.00	1.3		100	3.9	3.5	4.5		TBD	TBD
70.00	1.5		110	4.3	3.9	5.1
71.00	2.1		120	5.7	4.4	5.6
80.00	2.3		130	5.2	4.8	6.1
90.00	2.5
100.00	2.7
110.00	3.0
120.00	3.2
130.00	3.5
140.00	3.8
150.00	4.1

Fluoro Patient Entrance Exposure Rate
Acrylic	mGy;/min	mGy;/min	mGy;/min	mGy;/min	mGy;/min	mGy;/min	mGy;/min	mGy;/min
Attenuator	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.
(cm)
10.00	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A
20.00	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A
30.00	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A

Dig Acq Patient Entrance Exposure Rate
Acrylic	mGy;/min	mGy;/min	mGy;/min	mGy;/min	mGy;/min	mGy;/min	mGy;/min	mGy;/min
Attenuator	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.	Not Avail.
(cm)
10.00	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A
20.00	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A
30.00	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A	#N/A

## DataEntry
Patient Entrance Exposure Rate (Fluoroscopy)*
Image	Aluminum
Mode	Attenuator
#NAME?	(cm)	kVp	mA	mGy/min	kVp	mA	mGy/min	kVp	mA	mGy/min
Normal	10.00
	20.00
	30.00
Mag 1	10.00
	20.00
	30.00
Mag 2	10.00
	20.00
	30.00
Mag 3	10.00
	20.00
	30.00
Mag 4	10.00
	20.00
	30.00
	max

Patient Entrance Exposure Rate (Digital Acquisition)*
Image	Aluminum
Mode	Attenuator
#NAME?	(cm)	kVp	mA	mGy/min	kVp	mA	mGy/min	kVp	mA	mGy/min
Normal	10.00
	20.00
	30.00
Mag 1	10.00
	20.00
	30.00
Mag 2	10.00
	20.00
	30.00
Mag 3	10.00
	20.00
	30.00
Mag 4	10.00
	20.00
	30.00
	max