## Barco
1					Revision 1.1-201500513					Print Area
2					Medical University of South Carolina					Medical University of South Carolina
3					Charleston, South Carolina					Charleston, South Carolina
4					All:
5					Mammography Monitor Compliance Inspection					Mammography Monitor Compliance Inspection
6					Measurement Parameter	Last Year		This Year
7					Date:					Inspector:	Eugene Mah	Eugene Mah		Print Area
8					Previous Date:					System Information					Date
9					Location			Input Changes Only				Input Changes Only				Inspector		Change	Eugene Mah
10					Facility:				Site Number:					Facility:
11					Department:				Date of Installation:					Department:
12					Area/Division:				Workstation ID:					Area/Division:
13					Survey ID:				Left monitor SN:	123456789	123456789				Survey ID:
14					Room Number:				Right monitor SN:	123456789	123456789				Room Number:
15					QC Manual version:					QC Manual version:
16					Site Number:
17					Inspection Results					Date of Installation:
18					Enter 1 for YES, 2 for NO, 3 for NA					Workstation ID:
19					Comments					Left monitor SN:		Change	123456789
20					Monitor surface is clean					Right monitor SN:		Change	123456789
21					Viewing conditions
22					TG18-QC test pattern					Ambient Light:
23					Rapid Frame acceptable
24
25					Room Conditions
26					Ambient Light:		lux
27					Previous:		lux	Criteria:	Ambient light measured at the surface of the monitor(s) must be less than 20 lux
28					Comments:
29					Do not exceed 390 chars		0
30					New:
31
32					Auto Calibration
33					Date:			Left (6789)	Right (6789)
34					Lmin (cd/m^2)
35					Lmax (cd/m^2
36					Luminance Ratio
37
38					Comments:
39					Do not exceed 390 chars		0
40					New:
41
42					Compliance Test
43					Date:
44					Enter 1 for YES, 2 for NO, 3 for NA			Left (6789)	Right (6789)
45					DICOM GSDF curve acceptable:
46					Comments:
47					Do not exceed 390 chars		0
48					New:
49
50					Display Test
51					Date:
52					Comments:
53					Do not exceed 390 chars		0
54					New:
55
56					TG-18 Test Patterns
57					TG-18 Black/White		Left (6789)	Right (6789)
58					LN-01 (cd/m^2)
59					LN-18 (cd/m^2)
60					Comments:
61					Do not exceed 390 chars		0
62					New:
63
64					TG-18 QC
65		Date:					Inspector:	Eugene Mah		Enter 1 for YES, 2 for NO, 3 for NA			Left (6789)	Right (6789)
66		Room Number					Survey ID:					5%/95% patches visible:
				Resolution acceptable:
				Display is free of artifacts/noise:
				Comments:
				Do not exceed 390 chars		0
				New:

				TG-18 Uniformity					Visual assessment
				UNL-10 (cd/m^2)		UNL-80 (cd/m^2)			Enter 1 for YES, 2 for NO, 3 for NA
				Left (6789)	Right (6789)	Left (6789)	Right (6789)			Free from gross non-uniformities
				Top left	3.02	3.05	196.6	203.6			Free from non-symmetric non-uniformities
				Top right	2.94	2.91	198.1	197.6			Free from significant luminance variation
				Center	2.96	3.05	191.1	195.5
				Bottom left	3.01	2.88	198.4	191.5
				Bottom right	3.04	2.93	204.3	201.3
				Average (cd/m^2):	2.99	2.96	197.70	197.90
				SD (cd/m^2):	0.04	0.08	4.72	4.77
				Luminance Deviation (%):	1.7%	2.9%	3.3%	3.1%	Criteria:	Luminance deviation is < 30%
				Comments:
				Do not exceed 390 chars		0
				New: