## Sheet1
				Medical University of South Carolina					Kpri
				Charleston, South Carolina					Ksec

				Shielding Calculations
				Date:				Primary beam fit coefficients
	Facility Information					Workload Information					Attenuator	a	b	g	ag	b/a
	Location:					Patients/week (N):					Lead				0	#DIV/0!
	Department:					Workload/patient (Wpt) (mA-min/pt):					Concrete				0	#DIV/0!
	Area/Division:					Views/patient (V):					Gypsum				0	#DIV/0!
	Room:					Weekly workload (W) (mA-min):	0					Steel				0	#DIV/0!
	Type of Room:					Primary field size (cm^2):					Glass				0	#DIV/0!
	Performed by:					Wood				0	#DIV/0!

				Secondary beam fit coefficients
				Barrier Information					Attenuator	a	b	g	ag	b/a
	All distances in meters				Barrier Usage	Occupancy	Area	P	Primary Tx	Sec Tx		Lead				0	#DIV/0!
Barrier	D(pri)	D(sec)	D(scatter)	D(leak)	U	T	U or C	mSv/wk	Bpri	Bsec		Concrete				0	#DIV/0!
				#VALUE!			Gypsum				0	#DIV/0!
				Steel				0	#DIV/0!
				Glass				0	#DIV/0!
				Wood				0	#DIV/0!