## Sheet1
Date: |  |  | Inspector:
Location
| Facility: |  |  | Area/Division:
| Department: |  |  | Room Number:
SID Indicator Accuracy
| SID | SID
| Indicated | Measured | Error (%) | Acceptable:
Table Bucky X-ray Centering and Congruence
Technique:
| SID (cm): | 100 | kVp: |  | mA: |  | time: |  | mAs:
| Measured Separation |  | Error |  |  | Rad/Film Center
| Of Steel Balls (mm) |  | (Degrees) | Acceptable: |  | Distance (cm) |  | Acceptable:
| Indicated Field Size @SID |  | Measured Radiation |  | Measured Light |  | Field Size Indicators |  | Light/Rad. Congruence
| (cm) |  | (cm) |  | (cm) |  | Error (% SID) |  | Error (% SID)
| Transverse | Longitudinal | Transverse | Longitudinal | Transverse | Longitudinal | Transverse | Longitudinal | Transverse | Longitudinal
Wall Bucky
X-ray Centering and Congruence
Technique:
| SID (cm): | 180 | kVp: |  | mA: |  | time: |  | mAs:
Rad/Film Center
| Distance (cm) |  | Acceptable:
| Indicated Field Size @SID |  | Measured Radiation |  | Measured Light |  | Field Size Indicators |  | Light/Rad. Congruence
| (cm) |  | (cm) |  | (cm) |  | Error (% SID) |  | Error (% SID)
| Transverse | Longitudinal | Transverse | Longitudinal | Transverse | Longitudinal | Transverse | Longitudinal | Transverse | Longitudinal